## Slide 1: Standing on Your Own Two Feet
WEST STEWART UTILITY DISTRICT
Transitioning a Small Rural Utility to Self-Sufficiency
Presented by Seth Rye and Matthew Rye
Rye Engineering PLC | August 14, 2026

## Slide 2: Session Overview
This session follows the West Stewart Utility District's transition from a contract-managed utility with no direct employees to a fully self-sufficient, independently operated organization.
Rate Development
Building a rate structure that funds operations and reserves
Meter Installations
System-wide Residential Meter Installations
District Staffing
A utility manager and local crew running daily operations
Facilities
Planning construction of office and operations space
Financial Stability
Long-term sustainability for a small customer base
Grant Funding
CDBG and ARPA as capital engines

## Slide 3: History: 2013 – 2026
WEST STEWART UTILITY DISTRICT

## Slide 4: Thirteen Years of Building a Utility
2013
Utility District formed to purchase private assets
2014
UD purchases assets, borrows $200,000, begins operation
2016
Wells rebuilt; modular treatment brought online
2017
CDBG grant: storage tank and system interconnect
2020
Rate restructuring and water loss program
JAN 2025
James Soderstrom hired as Utility Manager
NOV 2025
ARPA AMI meter installation begins
2026
Independent operations transition
From a borrowed $200,000 and no employees to a staffed district with storage, metering, and a licensed manager of its own.

## Slide 5: Where the District Started
A decade ago this was a young district still finding its footing: two patched-together systems, no storage, no meters, and no staff of its own.
THE STARTING POINT
Two unconnected brownfield systems, roughly 215 customers
Seven small wells, no gravity storage, low system pressure
No residential meters and flat quarterly billing
Contract operators only, zero district employees
Under $100,000 total operating budget

## Slide 11: Becoming a Sewer Utility
In 2016 the district added sewer authority across the same boundaries it already served with water, then acquired its first wastewater system without spending a dollar of district capital.
THE HAMMERLAND / RIVER TRACE II DEAL
Supplemental petition approved in 2016 extended sewer authority across the district's existing water boundaries
Hammerland Inc. built and dedicated a complete system for the 28-lot River Trace II subdivision at no capital cost to the district
STEP units at each home, low-pressure force main collection, Low Pressure Pipe (LPP) subsurface drip dispersal
Seven existing homes connected first, replacing failing private septic and wells
Reservation Fee for all 28 Lots – Covers fixed costs
Usage Fee – Covers variable costs

## Slide 13: Rates & Financial Stability
PAYING FOR IT

## Slide 14: Rate Development
A small customer base leaves no room for guesswork. Rates have to cover operations, debt service, and reserves on their own.
The Constraint
Bond covenants require revenues at or above 120% of expenditures, against an operating budget that began under $100,000.
The Change
Volume-based billing replaced flat quarterly fees once meters were in place, tying revenue to actual use.
The Discipline
Regular rate studies, a capital reserve line, and rate adjustments taken in steps rather than emergencies.
Grant funding builds the assets. Rates keep them running.

## Slide 15: Rate Increases Over Time
Rates have moved in measured steps rather than emergency jumps. Quarterly residential water began at $150.77 and sewer with user fee at $280.44 in 2020, and both held flat for two years before the first adjustment.
2022 → +5%
Residential water $150.77 → $158.30 per quarter. Sewer with user fee $280.44 → $304.25. First increase after two years flat.
2024 → +13.5%
Residential water $158.30 → $179.67 per quarter. Sewer with user fee $304.25 → $351.98. A commercial rate structure was added.
2026 → +15%
Residential water $179.67 → $206.63 per quarter. Sewer with user fee $351.98 → $404.77. Rates set with metered volume billing in view.
Quarterly residential water is up 37% and sewer with user fee 44% since 2020.

## Slide 16: Leveraging Grant Funding
Two funding sources carried the district's capital program through its most vulnerable years.
CDBG
Community Development Block Grant — 2017
30,000 gallon ground storage tank
System interconnect between service areas
Residential AMR meters scoped but never installed
ARPA
American Rescue Plan Act — 2024
Approximately 261 AMI meters - the district's first residential meters
$306,465.00 project cost
Construction began 11/01/2025, ongoing

## Slide 17: Storage Tank
CDBG 2017

## Slide 18: 30,000 Gallon Ground Storage Tank
The 2017 CDBG project delivered the district's first real storage, ending years of operating on well output and pneumatic tanks alone.
30,000 gallon ground storage tank
Interconnect between the Brownfield and Leatherwood systems
Stabilized pressure across the distribution network
Reserve capacity for fire flow and peak demand
Reduced emergency well switching and generator reliance
Proposed tank, booster pump, and transmission main

## Slide 19: Donated Tank From Big Creek Utility District

## Slide 21: Water Meters
ARPA 2024

## Slide 22: From No Meters to Advanced Metering
THEN
No residential meters. One aging commercial meter. Flat fee billed quarterly with no way to charge by volume.
2025 ARPA
Full conversion to Advanced Metering Infrastructure with real-time monitoring across the service area.

## Slide 23: 2024 ARPA Meter Installation Project
Metering improvements are currently underway through the installation of approximately 261 Advanced Metering Infrastructure (AMI) water meters throughout the district's service area.
261
AMI Meters
$306,465
Project Cost
11/01/2025
Start Date
Ongoing
Status
WHAT THE SYSTEM DELIVERS
More accurate consumption data for every account
Improved operational efficiency for a small staff
Real-time monitoring and faster leak identification
Better customer usage information and dispute resolution

## Slide 25
Meter Pits and Set-Ups in the Field

## Slide 28: Post Installation Clean-Up

## Slide 30: New AMI Meters in Service

## Slide 34: Water Loss
MEASURE, THEN MANAGE

## Slide 35: Water Loss Management
Metering turned water loss from a guess into a measurable number, and a measurable number into a work plan.
Find it
Leak detection surveys, night flow analysis, and district metering
Fix it
Prioritized main and service line repairs; valve and hydrant replacement
Prevent it
Flushing program, pressure management, and proactive main replacement
Account for it
Monthly water audits comparing production against billed consumption

## Slide 36: Main and Service Line Repairs

## Slide 38: Manager & Staffing
BUILDING A TEAM

## Slide 39: Finding Good People
For a decade the district ran on contract operators and had no employees of its own. Independence started with hiring.
THE OLD MODEL
Contract operators: Rye Engineering, PLC
No utility employees
Contract, attorney, accountant, auditor, and billing with D2 Energy
Board of three qualified commissioners
Every task routed through an outside firm
THE NEW MODEL
James Soderstrom hired as Utility Manager, January 2025
Holds his operator licenses
Local operations and maintenance staff and board members
Contract support retained for billing, engineering, and auditing
Institutional knowledge kept inside the district

## Slide 41: Who Governs the District
A three-member board of commissioners sets policy, approves rates, and oversees the district. All serve as volunteers.
JOE BALDWIN
PRESIDENT
Original board member since 2013
Former Trane executive
Analyze before acting
Corporate fiscal responsibility
DOUG HILDRETH
VICE PRESIDENT
Retired engineer
Thinks outside the box
Hands-on with district operations
JOANN HARRIS
SECRETARY
Accounting background
Management experience
Record keeping and district rules
SERVING WITHOUT COMPENSATION Commissioners receive no pay for their service on the board.
FORMER COMMISSIONER Doug Weiland, Former Mayor of Montgomery County, TN, and an accountant; brought local government
perspective to rate setting and budgeting.

## Slide 42: Next Steps
WHAT COMES NEXT

## Slide 43: Independent Operations
The remaining work is about completing the handoff: the district doing for itself what others have done for it.
01
Complete AMI Deployment
Finish the ARPA meter installation and bring the full system online
02
Full In-House Billing
Bring meter reading, billing, and collections in house with district staff
03
04
Build or lease a permanent workspace for staff, records, and customer service
Certified Operations Staff
Build depth behind a licensed manager and retain distribution operators
Establish an Office
05
Regional Water Supply
Support the Stewart-Houston Water Authority plan for regional treatment and transmission capacity

## Slide 45: What We Would Tell Another Small Utility
Meter everything
You cannot manage water loss or set fair rates without measurement.
Pursue grants and low interest loans
CDBG, ARPA, IPG, USDA-RD
Begin building a local staff dedicated to one utility
Direct employees vs. contract operations
Get your rates right and keep them right
Be proactive, automatic/regular rate increases
Build a reserve
Use depreciation and bond covenants as your friend
Don’t lose site of long-term regional plans
Communicate with neighboring utilities and the county

## Slide 46: QUESTIONS
Seth Rye | Matthew Rye | Rye Engineering, PLC
www.ryeengineering.com